## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 6.86634 85.594 391.043 642.041 885.744 1085.85 1256.31 1395.69 | 0.236882 101.585 402.449 601.966 800.314 1003.77 1200.71 1401.61 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | UserDefCon | UserDefCon | UserDefVar | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | species | plot | instrument | bb index | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt. Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | gsw:MN | gsw:SLP | gsw:SD | gsw:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_hum | AccH2O_des | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  |  |  |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [12 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ min⁻¹ | mol m⁻² s⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | V | V | V | V | V | V | V | V | V | V | V | V | [6 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1629726933 | 0 | 20210823 08:55:33 | 08:55:33 | 0 | soybean | 5a | ripe5 | 4.8572 | 1629726933 | 0.0052506 | 5.2506 | 29.06 | 414.977 | 276.0418 | 27.4253 | 41.2288 | 0.37702 | 2.9562 | 0.3522 | 0.22222 | 321.5331 | 30.9629 | 30.782 | 4.4556 | 69.3612 | 3.0303 | 4.3688 | 1.4253 | -231.5517 | -54.8249 | -4.1486 | 31.008 | 0 | 0 | 1 | 0 | 51924.3455 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1503-20210823-08_55_16 | 10308.9 | 791.5472 | 1252.06 | 0.3678 | 0.5 | 1681.3149 | 29.06 | 309.1973 | 0.017476 | 2.2365 | 259.0106 | DARK-1504-20210823-08_55_24 | 566.48 | 566.48 | 0.54756 | 0.67171 | 0.80332 | 0.48483 | 0.74671 | 0.48072 | 0.51928 | 2000.14 | 1681.3149 | 0.8406 | 0.16076 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629726933 | 414.977 | 451.1407 | 30.5003 | 24.6073 | 416.377 | 30.0937 | 500.15 | 99.252 | 0.10007 | 30.438 | 30.782 | 999.9 | 0 | 0 | 10007.5 | 0 | 1154.02 | -39.2062 | 428.1 | 465.641 | 6.0485 | 454.183 | 24.6073 | 3.0427 | 2.4423 | 24.2632 | 20.6472 | 2000.14 | 0.98 | 0.020004 | 0 | 791.171 | 5.0011 | 16584.6 | 18586 | 50.062 | 51.562 | 50.937 | 50.187 | 51.125 | 1955.23 | 39.91 | 0 | 1629726922.9 | 0 | 791.5472 | -2.7086 | -31.5923 | 16587.364 | 15 | 1629726071 | 08:41:11 | 1629726059.5 | 1629726071 | 2 | 0.037 | 0.026 | -1.41 | 0.138 | 462 | 20 | 0.04 | 0.02 | 31.5913 | -0.045389 | 0.057529 | 1 | 0.39416 | -0.0026457 | 0.003992 | 1 | 2 | 2 | 2/2 | 2.98 | 2.8211 | 0.10078 | 0.10637 | 0.14066 | 0.1209 | 26617.6 | 24720.4 | 26601.7 | 26115.4 | 31080.6 | 32421 | 37683.8 | 38766.1 | 2.0091 | 2.0669 | 0.085797 | 0 | 29.386 | 999.9 | 62.813 | 31.874 | 30.0062 | 61.6101 | 11.903 | 1 | 0.19509 | 1.6678 | 20.2889 | 5.2092 | 11.9321 | 4.9879 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8842 | 1.8905 | 1.8881 | 1.8864 | 1.8869 | 1.8844 | 1.8903 | 1.8894 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.4 | 0.5621 | -1.211 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.11709 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 14.6 | 14.4 | 18 | 518.211 | 544.37 | 27.0009 | 30.0218 | 30.0007 | 29.6727 | 29.6087 | 21.5511 | 29.7909 | 80.5382 | 27 | 454.21 | 24.6575 | 100.014 | 99.9949
2 | 1629727234.5 | 301.5 | 20210823 09:00:34 | 09:00:34 | 0 | soybean | 5a | ripe5 | 4.9547 | 1629727234.5 | 0.0041557 | 4.1557 | 29.4032 | 414.993 | 263.285 | 26.1586 | 41.2315 | 0.34283 | 2.9549 | 0.32216 | 0.2031 | 177.8355 | 30.1194 | 29.917 | 4.2402 | 69.9305 | 3.0053 | 4.2976 | 1.2349 | -183.2642 | 37.2933 | 2.8072 | 34.6717 | 0 | 0 | 1 | 0 | 51937.4909 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1505-20210823-09_00_18 | 10330.2 | 854.414 | 1837.51 | 0.53502 | 0.5 | 925.1487 | 29.4032 | 247.4844 | 0.032132 | 1.2053 | 277.2866 | DARK-1506-20210823-09_00_25 | 599.51 | 599.51 | 0.67374 | 0.7941 | 0.64145 | 0.64033 | 0.5906 | 0.55719 | 0.44281 | 1099.96 | 925.1487 | 0.84107 | 0.16167 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629727234.5 | 414.993 | 451.0353 | 30.2483 | 25.5821 | 416.354 | 29.797 | 500.051 | 99.2546 | 0.1001 | 30.1511 | 29.917 | 999.9 | 0 | 0 | 10000 | 0 | 1182.41 | -34.206 | 427.986 | 460.993 | 4.7761 | 449.199 | 25.5821 | 3.0132 | 2.5391 | 24.101 | 21.2796 | 1099.96 | 0.96401 | 0.035989 | 0 | 855.094 | 5.0011 | 9886.62 | 10148.8 | 48.687 | 51.625 | 50.5 | 50.312 | 50.312 | 1055.55 | 39.41 | 0 | 300.7 | 0 | 854.414 | 5.1056 | 48.6209 | 9881.0269 | 15 | 1629727026.5 | 08:57:06 | 1629727021.5 | 1629727026.5 | 3 | 0.04 | 0.015 | -1.368 | 0.339 | 450 | 26 | 0.04 | 0.02 | 27.6986 | 0.0062831 | 0.047129 | 1 | 0.3593 | -0.0031087 | 0.0038826 | 1 | 2 | 2 | 2/2 | 2.9793 | 2.8211 | 0.10064 | 0.10538 | 0.13956 | 0.12399 | 26604.1 | 24720.9 | 26586 | 26089.1 | 31105.2 | 32276.3 | 37660.6 | 38729.8 | 2.0012 | 2.0568 | 0.027321 | 0 | 29.4722 | 999.9 | 62.447 | 32.337 | 30.6225 | 61.5102 | 12.2115 | 1 | 0.23465 | 1.7977 | 20.2958 | 5.211 | 11.9321 | 4.9882 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8882 | 1.8864 | 1.887 | 1.8844 | 1.8903 | 1.8894 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.361 | 0.5613 | -1.1712 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.10199 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 3.5 | 3.5 | 18 | 517.28 | 541.66 | 26.9999 | 30.5206 | 30.0007 | 30.1693 | 30.105 | 21.3826 | 28.2212 | 81.6521 | 27 | 449.27 | 25.6305 | 99.9533 | 99.8984
3 | 1629727572.1 | 639.1 | 20210823 09:06:12 | 09:06:12 | 0 | soybean | 5a | ripe5 | 4.4842 | 1629727572.1 | 0.003897 | 3.897 | 26.4135 | 414.976 | 277.8707 | 27.6064 | 41.2277 | 0.34174 | 2.9555 | 0.32121 | 0.2025 | 130.0025 | 29.7364 | 29.5855 | 4.1601 | 70.4499 | 2.9982 | 4.2557 | 1.1619 | -171.8563 | 62.9699 | 4.7273 | 25.8433 | 0 | 0 | 1 | 0 | 51983.1263 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1507-20210823-09_05_55 | 10343.1 | 902.0883 | 2301.43 | 0.60803 | 0.5 | 673.2972 | 26.4135 | 204.6929 | 0.03971 | 0.76077 | 285.986 | DARK-1508-20210823-09_06_03 | 640.3 | 640.3 | 0.72178 | 0.8424 | 0.51315 | 0.69994 | 0.46689 | 0.59794 | 0.40206 | 800.124 | 673.2972 | 0.84149 | 0.16248 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629727572.1 | 414.976 | 447.4251 | 30.1778 | 25.8027 | 416.369 | 29.5253 | 500.16 | 99.2498 | 0.099861 | 29.9807 | 29.5855 | 999.9 | 0 | 0 | 10003.8 | 0 | 1217.04 | -30.537 | 427.837 | 457.313 | 4.2588 | 445.513 | 25.8027 | 2.9836 | 2.5609 | 23.9367 | 21.4189 | 800.124 | 0.94999 | 0.050011 | 0 | 902.999 | 5.0011 | 7625.63 | 7336.86 | 47.5 | 51.125 | 49.562 | 49.875 | 49.312 | 755.36 | 39.77 | 0 | 337 | 0 | 902.0883 | 7.1501 | 43.9884 | 7618.0062 | 15 | 1629727352.6 | 09:02:32 | 1629727350.6 | 1629727352.6 | 4 | -0.033 | -0.011 | -1.4 | 0.34 | 446 | 26 | 0.05 | 0.03 | 24.7834 | -0.068564 | 0.065494 | 1 | 0.33514 | -0.0039961 | 0.0039211 | 1 | 2 | 2 | 2/2 | 2.9792 | 2.8209 | 0.10051 | 0.1046 | 0.13853 | 0.12457 | 26590.5 | 24718.1 | 26570.2 | 26065.4 | 31126 | 32227.5 | 37636.2 | 38697 | 1.994 | 2.0455 | 0.0043213 | 0 | 29.5151 | 999.9 | 62.013 | 32.831 | 31.2698 | 61.7193 | 11.3822 | 1 | 0.27224 | 1.9004 | 20.2969 | 5.2068 | 11.9321 | 4.9881 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8883 | 1.8865 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.393 | 0.5362 | -1.2041 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.11274 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 3.7 | 3.7 | 18 | 516.79 | 538.052 | 27.0008 | 30.9936 | 30.0006 | 30.6618 | 30.6031 | 21.2482 | 29.0996 | 81.7668 | 27 | 445.589 | 25.7848 | 99.8907 | 99.8114
4 | 1629727873.1 | 940.1 | 20210823 09:11:13 | 09:11:13 | 0 | soybean | 5a | ripe5 | 3.6519 | 1629727873.1 | 0.0038199 | 3.8199 | 21.4419 | 415.012 | 303.4783 | 30.1514 | 41.2325 | 0.3454 | 2.9546 | 0.32444 | 0.20455 | 106.0576 | 29.5113 | 29.4087 | 4.1179 | 70.6826 | 2.9899 | 4.2301 | 1.1279 | -168.4566 | 74.3729 | 5.5771 | 17.551 | 0 | 0 | 1 | 0 | 51977.454 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1509-20210823-09_10_56 | 10351.2 | 900.8928 | 2506.88 | 0.64063 | 0.5 | 547.2084 | 21.4419 | 175.2796 | 0.039775 | 0.61647 | 288.9285 | DARK-1510-20210823-09_11_04 | 667.25 | 667.25 | 0.73383 | 0.87299 | 0.45654 | 0.72845 | 0.4121 | 0.64659 | 0.35341 | 650.01 | 547.2084 | 0.84185 | 0.16316 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629727873.1 | 415.012 | 441.6692 | 30.0943 | 25.8053 | 416.346 | 29.2837 | 500.156 | 99.2526 | 0.10004 | 29.8756 | 29.4087 | 999.9 | 0 | 0 | 9998.75 | 0 | 1249.96 | -27.3829 | 427.759 | 454.113 | 3.9942 | 442.395 | 25.8053 | 2.9577 | 2.5612 | 23.7916 | 21.421 | 650.01 | 0.93799 | 0.062008 | 0 | 901.498 | 5.0011 | 6214.67 | 5928.93 | 46.625 | 50.5 | 48.812 | 49.375 | 48.625 | 605.01 | 40 | 0 | 300.6 | 0 | 900.8928 | 4.7594 | 33.9118 | 6209.9608 | 15 | 1629727659.6 | 09:07:39 | 1629727654.6 | 1629727659.6 | 5 | 0.059 | -0.008 | -1.341 | 0.336 | 443 | 26 | 0.04 | 0.02 | 22.2301 | -0.050412 | 0.055308 | 1 | 0.31505 | -0.003241 | 0.0039143 | 1 | 2 | 2 | 2/2 | 2.9788 | 2.8211 | 0.10041 | 0.10394 | 0.13763 | 0.12447 | 26579.4 | 24716.4 | 26557.2 | 26046.3 | 31144.7 | 32209.6 | 37616 | 38671.2 | 1.9877 | 2.0366 | -0.010166 | 0 | 29.5743 | 999.9 | 61.659 | 33.254 | 31.8355 | 61.4993 | 11.3221 | 1 | 0.30449 | 2.0008 | 20.2968 | 5.2086 | 11.9321 | 4.9875 | 3.2908 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.334 | 0.5158 | -1.1455 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.12045 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 3.6 | 3.6 | 18 | 516.088 | 535.402 | 27.0004 | 31.3901 | 30.0005 | 31.0673 | 31.0103 | 21.1291 | 29.7682 | 80.9675 | 27 | 442.356 | 25.9496 | 99.8393 | 99.7421
5 | 1629728348.1 | 1415.1 | 20210823 09:19:08 | 09:19:08 | 0 | soybean | 5a | ripe5 | 3.4378 | 1629728348.1 | 0.0030993 | 3.0993 | 20.29 | 415.046 | 287.3047 | 28.5401 | 41.2295 | 0.27979 | 2.9548 | 0.26586 | 0.16736 | 82.0852 | 29.3491 | 29.1492 | 4.0566 | 70.3221 | 2.9394 | 4.1799 | 1.1173 | -136.681 | 82.6287 | 6.1815 | 34.2144 | 0 | 0 | 1 | 0 | 52017.2741 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1511-20210823-09_18_51 | 10360.8 | 865.1908 | 2631.14 | 0.67117 | 0.5 | 421.1507 | 20.29 | 141.3324 | 0.048946 | 0.54013 | 290.5097 | DARK-1512-20210823-09_18_59 | 680.97 | 680.97 | 0.74119 | 0.90554 | 0.42154 | 0.75827 | 0.37897 | 0.71272 | 0.28728 | 499.956 | 421.1507 | 0.84238 | 0.16418 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629728348.1 | 415.046 | 440.0225 | 29.5897 | 26.1081 | 416.321 | 29.0459 | 500.179 | 99.2372 | 0.10002 | 29.6679 | 29.1492 | 999.9 | 0 | 0 | 10001.2 | 0 | 1299.35 | -22.7281 | 427.681 | 449.51 | 3.4346 | 437.774 | 26.1081 | 2.9317 | 2.5909 | 23.6452 | 21.609 | 499.956 | 0.92002 | 0.079982 | 0 | 865.357 | 5.0011 | 4613.79 | 4523.45 | 45.437 | 49.625 | 47.75 | 48.625 | 47.562 | 455.37 | 39.59 | 0 | 474.6 | 0 | 865.1908 | 3.3809 | 6.1908 | 4615.1768 | 15 | 1629727962.6 | 09:12:42 | 1629727962.1 | 1629727962.6 | 6 | 0.059 | -0.007 | -1.28 | 0.335 | 438 | 26 | 0.17 | 0.03 | 18.4138 | -0.0093693 | 0.040619 | 1 | 0.2758 | -0.003983 | 0.0036371 | 1 | 2 | 2 | 2/2 | 2.9785 | 2.8211 | 0.10026 | 0.10299 | 0.13669 | 0.1253 | 26566.7 | 24719.8 | 26541.8 | 26024 | 31161.8 | 32153.5 | 37592 | 38640.7 | 1.9807 | 2.0252 | -0.012476 | 0 | 29.3525 | 999.9 | 60.939 | 33.828 | 32.4965 | 61.5793 | 11.222 | 1 | 0.34051 | 2.0147 | 20.2981 | 5.2096 | 11.9322 | 4.9875 | 3.2909 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.275 | 0.4968 | -1.0861 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.1271 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 6.4 | 6.4 | 18 | 515.566 | 531.525 | 26.9994 | 31.8418 | 30.0002 | 31.5532 | 31.5004 | 20.9624 | 30.782 | 78.5109 | 27 | 437.744 | 26.0733 | 99.7778 | 99.6607
6 | 1629728899.1 | 1966.1 | 20210823 09:28:19 | 09:28:19 | 0 | soybean | 5a | ripe5 | 2.6311 | 1629728899.1 | 0.0024861 | 2.4861 | 15.6903 | 415.028 | 286.2511 | 28.4358 | 41.2283 | 0.2128 | 2.956 | 0.20465 | 0.12861 | 57.8496 | 29.3131 | 29.1836 | 4.0647 | 69.5959 | 2.9002 | 4.1672 | 1.1645 | -109.6354 | 68.8124 | 5.1454 | 22.1721 | 0 | 0 | 1 | 0 | 52058.5146 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1513-20210823-09_28_02 | 10364.2 | 813.3539 | 2670.74 | 0.69546 | 0.5 | 294.9908 | 15.6903 | 102.5768 | 0.054286 | 0.51729 | 290.9861 | DARK-1514-20210823-09_28_10 | 704.12 | 704.12 | 0.73636 | 0.94446 | 0.41263 | 0.78419 | 0.36841 | 0.81762 | 0.18238 | 349.947 | 294.9908 | 0.84296 | 0.16531 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629728899.1 | 415.028 | 434.3853 | 29.1953 | 26.4015 | 416.304 | 28.7593 | 500.178 | 99.2387 | 0.099942 | 29.6154 | 29.1836 | 999.9 | 0 | 0 | 10007.5 | 0 | 1372.37 | -16.5378 | 427.526 | 443.268 | 2.833 | 431.565 | 26.4015 | 2.9012 | 2.62 | 23.4715 | 21.7921 | 349.947 | 0.89995 | 0.10005 | 0 | 813.658 | 5.0011 | 3143.83 | 3132.13 | 44.25 | 48.812 | 46.687 | 47.875 | 46.562 | 310.44 | 34.51 | 0 | 550.2 | 0 | 813.3539 | 0.15791 | 0.8147 | 3144.2312 | 15 | 1629728436.6 | 09:20:36 | 1629728435.1 | 1629728436.6 | 7 | -0.001 | -0.007 | -1.28 | 0.34 | 432 | 26 | 0.14 | 0.03 | 13.3791 | -0.095376 | 0.074075 | 1 | 0.21999 | -0.0038362 | 0.0039714 | 1 | 2 | 2 | 2/2 | 2.9782 | 2.821 | 0.10017 | 0.10179 | 0.13565 | 0.12615 | 26557.7 | 24735.2 | 26531.1 | 26006.9 | 31187.1 | 32102.4 | 37574.4 | 38616.8 | 1.9754 | 2.0162 | -0.018708 | 0 | 29.4884 | 999.9 | 60.078 | 34.372 | 33.0248 | 61.5294 | 11.3341 | 1 | 0.368 | 2.1008 | 20.2985 | 5.2107 | 11.9345 | 4.9878 | 3.2906 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8883 | 1.8865 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.276 | 0.4752 | -1.0868 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.13394 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 7.7 | 7.7 | 18 | 515.2 | 528.477 | 27.001 | 32.1829 | 30.0005 | 31.9263 | 31.8813 | 20.7238 | 31.0458 | 74.2263 | 27 | 431.533 | 26.3691 | 99.7338 | 99.5976
7 | 1629729392 | 2459 | 20210823 09:36:32 | 09:36:32 | 0 | soybean | 5a | ripe5 | 1.1 | 1629729392 | 0.0019564 | 1.9564 | 6.5094 | 415.037 | 344.9046 | 34.2598 | 41.2261 | 0.16999 | 2.9529 | 0.16473 | 0.10342 | 33.07 | 29.227 | 29.1124 | 4.048 | 70.1339 | 2.9096 | 4.1487 | 1.1384 | -86.2784 | 67.7386 | 5.0666 | 19.5968 | 0 | 0 | 1 | 0 | 51986.7673 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1515-20210823-09_36_15 | 10354.3 | 756.236 | 2703.71 | 0.7203 | 0.5 | 168.695 | 6.5094 | 60.7553 | 0.040504 | 0.49879 | 291.3732 | DARK-1516-20210823-09_36_23 | 766.19 | 766.19 | 0.71662 | 1.0051 | 0.41039 | 0.81094 | 0.35962 | 1.0184 | -0.018368 | 200.131 | 168.695 | 0.84292 | 0.16524 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629729392 | 415.037 | 423.5136 | 29.2922 | 27.0934 | 416.264 | 28.8678 | 500.097 | 99.2311 | 0.10001 | 29.5379 | 29.1124 | 999.9 | 0 | 0 | 9991.25 | 0 | 1340.47 | -9.6496 | 427.584 | 436.513 | 2.2509 | 424.687 | 27.0934 | 2.9119 | 2.6885 | 23.5324 | 22.215 | 200.131 | 0.90006 | 0.099937 | 0 | 756.348 | 5.0011 | 1799.8 | 1771.85 | 43.687 | 48.625 | 46.312 | 47.812 | 46.187 | 175.63 | 19.5 | 0 | 492.4 | 0 | 756.236 | 1.1568 | 0.74462 | 1798.7724 | 15 | 1629728991.1 | 09:29:51 | 1629728980.6 | 1629728991.1 | 8 | 0.049 | -0.004 | -1.23 | 0.357 | 425 | 27 | 0.29 | 0.05 | 7.5663 | 0.029501 | 0.046324 | 1 | 0.17542 | -0.0023158 | 0.0039003 | 1 | 2 | 2 | 2/2 | 2.9775 | 2.8209 | 0.10002 | 0.10042 | 0.13583 | 0.12821 | 26539.6 | 24742.9 | 26510.4 | 25977.8 | 31157.9 | 31993.1 | 37543.1 | 38576.7 | 1.9671 | 2.0053 | -0.02405 | 0 | 29.5043 | 999.9 | 59.517 | 34.865 | 33.6276 | 61.9094 | 11.1659 | 1 | 0.41338 | 2.2526 | 20.2978 | 5.211 | 11.9354 | 4.9874 | 3.2904 | 9999 | 9999 | 9999 | 999.9 | 1.8843 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -1.227 | 0.4766 | -1.0382 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | -0.13819 | -0.005578 | 0.00082594 | 3.6354e-06 | 2 | 2274 | 2 | 28 | 6.9 | 6.7 | 18 | 514.074 | 525.137 | 26.9999 | 32.7316 | 30.0004 | 32.4539 | 32.4018 | 20.483 | 30.2247 | 70.9266 | 27 | 424.764 | 27.0917 | 99.653 | 99.4909
11 | 1629734931.1 | 7998.1 | 20210823 11:08:51 | 11:08:51 | 0 | soybean | 1 | ripe5 | 7.66 | 1629734931.1 | 0.007553 | 7.553 | 37.7515 | 370.532 | 266.1233 | 26.4359 | 36.8075 | 0.68241 | 2.9551 | 0.60546 | 0.3846 | 321.5188 | 32.7579 | 32.6232 | 4.9461 | 75.1836 | 3.7612 | 5.0027 | 1.1849 | -333.0877 | 32.1981 | 2.4886 | 23.1177 | 0 | 0 | 1 | 0 | 51489.4099 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1523-20210823-11_08_35 | 10325.6 | 810.7413 | 1377.74 | 0.41154 | 0.5 | 1681.2393 | 37.7515 | 345.9508 | 0.022647 | 1.9413 | 263.9924 | DARK-1524-20210823-11_08_43 | 579.66 | 579.66 | 0.57927 | 0.71045 | 0.77018 | 0.52718 | 0.7132 | 0.50796 | 0.49204 | 2000.05 | 1681.2393 | 0.8406 | 0.16076 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629734931.1 | 370.532 | 417.478 | 37.8633 | 29.4501 | 371.396 | 37.1471 | 500.117 | 99.2368 | 0.10015 | 32.8253 | 32.6232 | 999.9 | 0 | 0 | 10003.1 | 0 | 1132.54 | -44.4034 | 384.985 | 427.526 | 8.0925 | 414.935 | 29.4501 | 3.7256 | 2.9225 | 27.6845 | 23.593 | 2000.05 | 0.97999 | 0.020007 | 0 | 810.724 | 5.0011 | 16834.2 | 18585.2 | 47.812 | 49 | 48.5 | 47.75 | 49.125 | 1955.13 | 39.91 | 0 | 2745.4 | 0 | 810.7413 | -1.1238 | -37.7299 | 16838.0923 | 15 | 1629733797 | 10:49:57 | 1629733794.5 | 1629733797 | 18 | -0.026 | -0.006 | -0.876 | 0.247 | 415 | 25 | 0.04 | 0.01 | 35.8743 | -0.29084 | 0.17705 | 1 | 0.66583 | -0.02516 | 0.023271 | 0 | 1 | 2 | 1/2 | 2.9747 | 2.8212 | 0.090884 | 0.097898 | 0.16008 | 0.13467 | 26676.1 | 24624.2 | 26388.6 | 25794.2 | 30155.8 | 31544.7 | 37355.1 | 38320.6 | 1.9325 | 1.9344 | 0.028588 | 0 | 32.1598 | 999.9 | 49.951 | 38.26 | 33.984 | 61.693 | 11.3862 | 1 | 0.68882 | 1.8207 | 20.2791 | 5.2083 | 11.9381 | 4.9867 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8844 | 1.8905 | 1.8882 | 1.8865 | 1.887 | 1.8844 | 1.8903 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.864 | 0.3955 | -0.68664 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.39549 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 18.9 | 18.9 | 18 | 516.726 | 501.297 | 30.0002 | 35.8927 | 30.0003 | 35.6672 | 35.6104 | 20.1407 | 23.0005 | 21.8199 | 30 | 415 | 29.561 | 99.1709 | 98.8133
12 | 1629735255.1 | 8322.1 | 20210823 11:14:15 | 11:14:15 | 0 | soybean | 1 | ripe5 | 5.6136 | 1629735255.1 | 0.0053212 | 5.3212 | 28.3805 | 376.841 | 268.866 | 26.7124 | 37.44 | 0.48027 | 2.9567 | 0.44076 | 0.27875 | 177.86 | 32.2072 | 32.1557 | 4.8173 | 74.5385 | 3.6691 | 4.9224 | 1.1482 | -234.6633 | 60.9382 | 4.6901 | 8.825 | 0 | 0 | 1 | 0 | 51579.9719 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1525-20210823-11_13_59 | 10349.5 | 869.5718 | 2101.61 | 0.58624 | 0.5 | 925.275 | 28.3805 | 271.2145 | 0.031022 | 0.92819 | 282.6465 | DARK-1526-20210823-11_14_07 | 616.06 | 616.06 | 0.70686 | 0.82935 | 0.56768 | 0.68469 | 0.52017 | 0.58756 | 0.41244 | 1100.11 | 925.275 | 0.84107 | 0.16167 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629735255.1 | 376.841 | 412.0191 | 36.9303 | 30.9974 | 377.69 | 36.8601 | 500.121 | 99.2523 | 0.099859 | 32.538 | 32.1557 | 999.9 | 0 | 0 | 10010 | 0 | 1159.68 | -38.175 | 391.426 | 428.292 | 6.265 | 415.016 | 30.9974 | 3.6984 | 3.0766 | 27.559 | 24.4482 | 1100.11 | 0.964 | 0.035997 | 0 | 870.479 | 5.0011 | 10014.8 | 10150.1 | 46.125 | 48.687 | 47.625 | 47.562 | 48 | 1055.69 | 39.42 | 0 | 323.3 | 0 | 869.5718 | 4.9995 | 54.4785 | 10007.7312 | 15 | 1629735041.6 | 11:10:41 | 1629735037.6 | 1629735041.6 | 19 | 0.017 | 0.007 | -0.859 | 0.402 | 415 | 31 | 0.04 | 0.02 | 30.8066 | 0.11274 | 0.080647 | 1 | 0.52357 | -0.00079954 | 0.0039176 | 1 | 2 | 2 | 2/2 | 2.9745 | 2.821 | 0.092054 | 0.09789 | 0.1592 | 0.13931 | 26633.2 | 24611.8 | 26380.9 | 25781.7 | 30179.4 | 31361.1 | 37342.9 | 38303.3 | 1.9273 | 1.9329 | -0.0099242 | 0 | 32.3166 | 999.9 | 53.04 | 38.421 | 36.3965 | 61.663 | 10.7492 | 1 | 0.7061 | 1.8892 | 20.2862 | 5.2096 | 11.9381 | 4.9874 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8844 | 1.8906 | 1.8883 | 1.8865 | 1.887 | 1.8845 | 1.8903 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.849 | 0.4023 | -0.66973 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.40224 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 3.6 | 3.6 | 18 | 514.904 | 501.955 | 30.0005 | 36.1076 | 30.0005 | 35.8799 | 35.8222 | 20.1643 | 26.5391 | 38.7532 | 30 | 415 | 30.9982 | 99.14 | 98.7674
13 | 1629735770.5 | 8837.5 | 20210823 11:22:50 | 11:22:50 | 0 | soybean | 1 | ripe5 | 5.6054 | 1629735770.5 | 0.0050573 | 5.0573 | 28.4735 | 381.208 | 271.7936 | 27.0071 | 37.8792 | 0.47397 | 2.9522 | 0.4354 | 0.27533 | 130.0189 | 31.8198 | 31.9549 | 4.7629 | 75.0456 | 3.6576 | 4.8739 | 1.1053 | -223.0266 | 64.8414 | 4.9888 | -23.1775 | 0 | 0 | 1 | 0 | 51486.9305 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1527-20210823-11_22_35 | 10360.5 | 888.9753 | 2476.13 | 0.64098 | 0.5 | 673.3807 | 28.4735 | 215.8125 | 0.042765 | 0.63655 | 288.5155 | DARK-1528-20210823-11_22_42 | 645.59 | 645.59 | 0.73927 | 0.86704 | 0.46267 | 0.73009 | 0.4203 | 0.62966 | 0.37034 | 800.223 | 673.3807 | 0.84149 | 0.16248 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629735770.5 | 381.208 | 416.4057 | 36.8096 | 31.17 | 382.082 | 36.3763 | 500.1 | 99.266 | 0.10023 | 32.3623 | 31.9549 | 999.9 | 0 | 0 | 9983.75 | 0 | 1224.16 | -33.757 | 395.763 | 428.315 | 5.6065 | 414.965 | 31.17 | 3.6507 | 3.0941 | 27.3372 | 24.5433 | 800.223 | 0.94998 | 0.050023 | 0 | 889.097 | 5.0011 | 7524.15 | 7337.75 | 45.437 | 48.812 | 47.25 | 48.125 | 47.562 | 755.44 | 39.78 | 0 | 514.8 | 0 | 888.9753 | 1.1302 | 4.4338 | 7521.476 | 15 | 1629735355.6 | 11:15:55 | 1629735348.6 | 1629735355.6 | 20 | -0.024 | -0.002 | -0.883 | 0.4 | 415 | 31 | 0.05 | 0.02 | 27.2528 | 0.034555 | 0.04544 | 1 | 0.47228 | -0.0030576 | 0.0039945 | 1 | 2 | 2 | 2/2 | 2.9741 | 2.8211 | 0.092792 | 0.097785 | 0.15765 | 0.13971 | 26592.6 | 24590 | 26363.6 | 25757.8 | 30217 | 31319.6 | 37316.6 | 38270.5 | 1.9206 | 1.924 | -0.022985 | 0 | 32.3277 | 999.9 | 53.858 | 38.683 | 37.48 | 61.7331 | 11.1418 | 1 | 0.74307 | 1.8875 | 20.2893 | 5.2092 | 11.9381 | 4.987 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.874 | 0.4002 | -0.69352 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.40019 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 7 | 6.9 | 18 | 513.912 | 499.241 | 30.0016 | 36.5544 | 30.0004 | 36.3363 | 36.2778 | 20.1622 | 28.5928 | 40.8833 | 30 | 415 | 31.0737 | 99.0722 | 98.68
14 | 1629736144 | 9211 | 20210823 11:29:04 | 11:29:04 | 0 | soybean | 1 | ripe5 | 4.9461 | 1629736144 | 0.0050014 | 5.0014 | 25.208 | 385.013 | 289.5073 | 28.7707 | 38.2619 | 0.48558 | 2.9549 | 0.44521 | 0.2816 | 106.0738 | 31.7509 | 31.9533 | 4.7625 | 75.5445 | 3.6936 | 4.8893 | 1.0689 | -220.5609 | 74.0602 | 5.6944 | -34.7325 | 0 | 0 | 1 | 0 | 51551.8033 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1529-20210823-11_28_48 | 10358.8 | 853.37 | 2525.86 | 0.66215 | 0.5 | 547.2963 | 25.208 | 181.1952 | 0.04665 | 0.60432 | 289.1789 | DARK-1530-20210823-11_28_56 | 652.42 | 652.42 | 0.7417 | 0.89274 | 0.44897 | 0.75214 | 0.40704 | 0.68252 | 0.31748 | 650.115 | 547.2963 | 0.84185 | 0.16316 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629736144 | 385.013 | 416.4265 | 37.167 | 31.5919 | 385.893 | 36.4218 | 500.115 | 99.2781 | 0.10007 | 32.4182 | 31.9533 | 999.9 | 0 | 0 | 9997.5 | 0 | 1276.56 | -30.0243 | 399.728 | 428.577 | 5.2193 | 415.038 | 31.5919 | 3.6545 | 3.1364 | 27.3554 | 24.7703 | 650.115 | 0.93801 | 0.061989 | 0 | 853.246 | 5.0011 | 5964.94 | 5929.93 | 46.187 | 49.812 | 48.25 | 49.125 | 48.375 | 605.12 | 39.99 | 0 | 373.2 | 0 | 853.37 | -0.29031 | 20.01 | 5962.002 | 15 | 1629735881 | 11:24:41 | 1629735877.5 | 1629735881 | 21 | -0.004 | -0.011 | -0.887 | 0.389 | 415 | 31 | 0.05 | 0.02 | 24.0722 | -0.0040669 | 0.044318 | 1 | 0.43917 | -0.003987 | 0.0039749 | 1 | 2 | 2 | 2/2 | 2.9739 | 2.8211 | 0.09346 | 0.097745 | 0.1577 | 0.1409 | 26563.1 | 24575.2 | 26354.7 | 25742.4 | 30205.9 | 31258.6 | 37302.3 | 38248.8 | 1.9165 | 1.9183 | -0.027549 | 0 | 32.4 | 999.9 | 53.821 | 38.975 | 38.0428 | 61.7432 | 10.6651 | 1 | 0.76634 | 2.0241 | 20.2887 | 5.2056 | 11.9381 | 4.9866 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.88 | 0.3894 | -0.69768 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.38942 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 4.4 | 4.4 | 18 | 513.325 | 497.412 | 29.9999 | 36.8378 | 30.0003 | 36.6184 | 36.5603 | 20.1574 | 27.8207 | 41.4407 | 30 | 415 | 31.5465 | 99.0361 | 98.6228
15 | 1629736750 | 9817 | 20210823 11:39:10 | 11:39:10 | 0 | soybean | 1 | ripe5 | 3.1182 | 1629736750 | 0.0040472 | 4.0472 | 16.2063 | 390.969 | 309.9633 | 30.8046 | 38.8551 | 0.3687 | 2.9535 | 0.3449 | 0.21757 | 82.1082 | 31.9584 | 32.1486 | 4.8154 | 75.2243 | 3.6992 | 4.9175 | 1.1162 | -178.4816 | 59.1854 | 4.5595 | -32.6285 | 1 | 0 | 1 | 0 | 51496.3416 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1531-20210823-11_38_54 | 10359.6 | 809.517 | 2533.54 | 0.68048 | 0.5 | 421.2664 | 16.2063 | 143.3317 | 0.039238 | 0.59946 | 289.2793 | DARK-1532-20210823-11_39_02 | 671.61 | 671.61 | 0.73491 | 0.92593 | 0.44925 | 0.77264 | 0.40499 | 0.76819 | 0.23181 | 500.093 | 421.2664 | 0.84238 | 0.16419 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629736750 | 390.969 | 411.5656 | 37.222 | 32.7103 | 391.842 | 36.6164 | 500.062 | 99.2818 | 0.099645 | 32.5203 | 32.1486 | 999.9 | 0 | 0 | 9989.38 | 0 | 1327.79 | -24.028 | 405.99 | 429.03 | 4.2884 | 414.997 | 32.7103 | 3.6733 | 3.2475 | 27.4428 | 25.3547 | 500.093 | 0.92 | 0.079997 | 0 | 809.635 | 5.0011 | 4470.38 | 4524.68 | 46.437 | 50.375 | 48.625 | 49.75 | 48.687 | 455.49 | 39.61 | 0 | 605.8 | 0 | 809.517 | 0.19374 | 78.8 | 4463.4792 | 15 | 1629736201.5 | 11:30:01 | 1629736201.5 | 1629736197.5 | 22 | 0.007 | -0.007 | -0.88 | 0.382 | 415 | 32 | 0.12 | 0.02 | 19.3311 | -0.057929 | 0.043329 | 1 | 0.34969 | -0.0019038 | 0.0039024 | 1 | 2 | 2 | 2/2 | 2.9737 | 2.8206 | 0.094579 | 0.097742 | 0.15827 | 0.14419 | 26532.4 | 24574.6 | 26356.8 | 25741.5 | 30188.2 | 31138 | 37305 | 38247.7 | 1.9158 | 1.9176 | -0.031889 | 0 | 32.6655 | 999.9 | 53.754 | 39.368 | 38.8042 | 61.8333 | 11.0497 | 1 | 0.76455 | 2.1737 | 20.2875 | 5.2064 | 11.9381 | 4.9859 | 3.2893 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8865 | 1.887 | 1.8845 | 1.8903 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.873 | 0.3823 | -0.69054 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.38229 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 9.1 | 9.2 | 18 | 513.072 | 497.184 | 29.9991 | 36.8417 | 30.0004 | 36.6494 | 36.6015 | 20.1839 | 26.4155 | 44.6071 | 30 | 415 | 32.7525 | 99.0436 | 98.6197
16 | 1629737132 | 10199 | 20210823 11:45:32 | 11:45:32 | 0 | soybean | 1 | ripe5 | 2.0128 | 1629737132 | 0.0038263 | 3.8263 | 10.5834 | 396.956 | 339.6502 | 33.7557 | 39.451 | 0.35381 | 2.9578 | 0.33187 | 0.20927 | 57.8807 | 31.8659 | 32.1188 | 4.8073 | 75.4933 | 3.7105 | 4.9151 | 1.0967 | -168.7389 | 62.6038 | 4.815 | -43.4394 | 2 | 0 | 1 | 0 | 51616.2089 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1533-20210823-11_45_16 | 10357.1 | 767.6913 | 2572.96 | 0.70163 | 0.5 | 295.1568 | 10.5834 | 103.5456 | 0.036953 | 0.57496 | 289.7862 | DARK-1534-20210823-11_45_24 | 703.45 | 703.45 | 0.7266 | 0.96564 | 0.44175 | 0.79501 | 0.39448 | 0.88483 | 0.11517 | 350.145 | 295.1568 | 0.84296 | 0.1653 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629737132 | 396.956 | 410.9682 | 37.3354 | 33.0707 | 397.839 | 36.6426 | 500.08 | 99.2839 | 0.09991 | 32.5114 | 32.1188 | 999.9 | 0 | 0 | 10013.1 | 0 | 1398.7 | -18.0561 | 412.237 | 429.206 | 3.9966 | 415.012 | 33.0707 | 3.6802 | 3.2834 | 27.4747 | 25.5394 | 350.145 | 0.90004 | 0.099965 | 0 | 768.075 | 5.0011 | 3114.32 | 3134.01 | 46.25 | 50.5 | 48.625 | 49.937 | 48.625 | 310.64 | 34.5 | 0 | 381.4 | 0 | 767.6913 | -0.013368 | 5.694 | 3112.5919 | 15 | 1629736806.5 | 11:40:06 | 1629736806.5 | 1629736805.5 | 23 | -0.008 | 0.042 | -0.887 | 0.425 | 415 | 33 | 0.09 | 0.02 | 14.1555 | 0.007261 | 0.037158 | 1 | 0.32095 | -0.0022444 | 0.0039498 | 1 | 2 | 2 | 2/2 | 2.9735 | 2.821 | 0.095645 | 0.097692 | 0.15826 | 0.14517 | 26487.5 | 24560.7 | 26344.2 | 25726.8 | 30175.6 | 31085.3 | 37286.2 | 38226.8 | 1.9113 | 1.9119 | -0.037014 | 0 | 32.7188 | 999.9 | 53.937 | 39.69 | 39.6116 | 61.6434 | 10.5008 | 1 | 0.79017 | 2.2956 | 20.287 | 5.2053 | 11.9381 | 4.9867 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8866 | 1.8871 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.883 | 0.4246 | -0.69825 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.42458 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 5.4 | 5.4 | 18 | 511.891 | 495.046 | 29.9999 | 37.1227 | 30.0005 | 36.898 | 36.8413 | 20.1913 | 27.323 | 45.8966 | 30 | 415 | 33.0503 | 98.9947 | 98.5649
17 | 1629737576.1 | 10643.1 | 20210823 11:52:56 | 11:52:56 | 0 | soybean | 1 | ripe5 | 1.3544 | 1629737576.1 | 0.0027856 | 2.7856 | 7.3746 | 404.646 | 345.1407 | 34.3019 | 40.2159 | 0.2349 | 2.9553 | 0.225 | 0.14148 | 33.0714 | 32.017 | 32.2262 | 4.8366 | 74.3186 | 3.6587 | 4.923 | 1.1778 | -122.8461 | 50.0133 | 3.8523 | -35.909 | 2 | 0 | 1 | 0 | 51544.3202 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1535-20210823-11_52_40 | 10345.8 | 726.8548 | 2637.67 | 0.72443 | 0.5 | 168.7026 | 7.3746 | 61.1069 | 0.045631 | 0.53632 | 290.5892 | DARK-1536-20210823-11_52_48 | 767.85 | 767.85 | 0.70889 | 1.0219 | 0.43071 | 0.81818 | 0.37723 | 1.0796 | -0.079562 | 200.14 | 168.7026 | 0.84292 | 0.16524 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629737576.1 | 404.646 | 414.4897 | 36.8134 | 33.7068 | 405.439 | 36.625 | 500.066 | 99.2854 | 0.099981 | 32.5401 | 32.2262 | 999.9 | 0 | 0 | 9999.38 | 0 | 1465.51 | -10.3372 | 420.215 | 429.459 | 3.3424 | 414.983 | 33.7068 | 3.6784 | 3.3466 | 27.4667 | 25.861 | 200.14 | 0.90006 | 0.099941 | 0 | 727.054 | 5.0011 | 1900.42 | 1771.93 | 45.875 | 50.437 | 48.375 | 49.937 | 48.375 | 175.64 | 19.5 | 0 | 443.4 | 0 | 726.8548 | -0.89709 | -40.0858 | 1902.7073 | 15 | 1629737206.5 | 11:46:46 | 1629737203.5 | 1629737206.5 | 24 | 0.092 | 0 | -0.795 | 0.424 | 415 | 33 | 0.2 | 0.02 | 7.6803 | -0.018687 | 0.035188 | 1 | 0.26034 | -0.0022352 | 0.0039103 | 1 | 2 | 2 | 2/2 | 2.9731 | 2.821 | 0.096965 | 0.097603 | 0.15808 | 0.1469 | 26435.8 | 24543 | 26332.5 | 25707.3 | 30170.9 | 31000.9 | 37268.5 | 38200.4 | 1.9059 | 1.9047 | -0.045821 | 0 | 32.9687 | 999.9 | 53.431 | 40.194 | 40.3164 | 61.7443 | 10.5929 | 1 | 0.8223 | 2.4219 | 20.286 | 5.2098 | 11.9381 | 4.9868 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8866 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.793 | 0.4242 | -0.60591 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.42421 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 6.2 | 6.2 | 18 | 511.079 | 492.875 | 30.0003 | 37.5142 | 30.0003 | 37.2749 | 37.2159 | 20.2069 | 26.5287 | 46.9173 | 30 | 415 | 33.731 | 98.9489 | 98.4941
18 | 1629739546.5 | 12613.5 | 20210823 12:25:46 | 12:25:46 | 0 | soybean | 5c | ripe5 | 6.9364 | 1629739546.5 | 0.0069732 | 6.9732 | 34.6232 | 369.494 | 245.411 | 24.3837 | 36.7124 | 0.51302 | 2.9543 | 0.46817 | 0.29631 | 321.5288 | 33.523 | 33.6714 | 5.2459 | 74.0249 | 3.8336 | 5.1788 | 1.4123 | -307.5185 | -36.6327 | -2.8553 | -25.4778 | 0 | 0 | 1 | 0 | 51363.4722 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1537-20210823-12_25_31 | 10319.8 | 771.9142 | 1416.32 | 0.45499 | 0.5 | 1681.2975 | 34.6232 | 382.4834 | 0.020785 | 1.8611 | 265.3775 | DARK-1538-20210823-12_25_39 | 561.33 | 561.33 | 0.60367 | 0.7537 | 0.75509 | 0.57841 | 0.70291 | 0.54808 | 0.45192 | 2000.12 | 1681.2975 | 0.8406 | 0.16075 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629739546.5 | 369.494 | 412.5595 | 38.5832 | 30.8219 | 370.19 | 38.6141 | 500.137 | 99.2587 | 0.099973 | 33.4414 | 33.6714 | 999.9 | 0 | 0 | 9996.25 | 0 | 1927.68 | -45.5052 | 384.471 | 428.197 | 8.1344 | 414.999 | 30.8219 | 3.8668 | 3.0593 | 28.3224 | 24.3545 | 2000.12 | 0.98001 | 0.019995 | 0 | 772.196 | 5.0011 | 16286.7 | 18585.9 | 49.687 | 51.687 | 50.562 | 50.25 | 51.062 | 1955.23 | 39.89 | 0 | 1970.2 | 0 | 771.9142 | 0.22229 | 224.8137 | 16269.4 | 15 | 1629738488.1 | 12:08:08 | 1629738471.6 | 1629738488.1 | 27 | 0.09 | 0.042 | -0.708 | 0.342 | 415 | 29 | 0.03 | 0.02 | 36.6598 | -0.086912 | 0.061429 | 1 | 0.55173 | 0.0034498 | 0.0047565 | 0 | 1 | 2 | 1/2 | 2.9747 | 2.8209 | 0.090668 | 0.097924 | 0.16431 | 0.13884 | 26687.8 | 24618.4 | 26394.2 | 25789.1 | 30006.9 | 31386.3 | 37356.6 | 38312.8 | 1.9284 | 1.9228 | 0.032242 | 0 | 33.1496 | 999.9 | 48.352 | 40.183 | 36.4673 | 61.6947 | 11.4663 | 1 | 0.68792 | 2.4515 | 20.2681 | 5.2077 | 11.9381 | 4.9869 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8865 | 1.887 | 1.8845 | 1.8904 | 1.8895 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.696 | 0.3422 | -0.51892 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.34223 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 17.9 | 17.6 | 18 | 514.425 | 493.746 | 30.0016 | 35.9741 | 30.0007 | 35.7278 | 35.6873 | 20.2333 | 24.6706 | 30.9126 | 30 | 415 | 30.735 | 99.1819 | 98.7935
19 | 1629739944 | 13011 | 20210823 12:32:24 | 12:32:24 | 0 | soybean | 5c | ripe5 | 6.2619 | 1629739944 | 0.005581 | 5.581 | 31.4315 | 376.745 | 257.6968 | 25.606 | 37.4353 | 0.48055 | 2.9551 | 0.44098 | 0.27889 | 177.8398 | 32.691 | 32.8604 | 5.0126 | 75.057 | 3.8109 | 5.0773 | 1.2017 | -246.12 | 36.3716 | 2.8181 | -29.0904 | 1 | 0 | 1 | 0 | 51444.4253 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1539-20210823-12_32_08 | 10344.6 | 836.1952 | 2185.71 | 0.61743 | 0.5 | 925.1661 | 31.4315 | 285.6109 | 0.034323 | 0.854 | 284.1168 | DARK-1540-20210823-12_32_16 | 604.31 | 604.31 | 0.72352 | 0.85337 | 0.54136 | 0.71649 | 0.49775 | 0.61672 | 0.38328 | 1099.98 | 925.1661 | 0.84108 | 0.16168 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629739944 | 376.745 | 415.5652 | 38.3525 | 32.1396 | 377.613 | 37.8973 | 500.157 | 99.265 | 0.099991 | 33.0887 | 32.8604 | 999.9 | 0 | 0 | 10000 | 0 | 1812.35 | -38.2292 | 391.765 | 428.755 | 6.1991 | 414.975 | 32.1396 | 3.8057 | 3.1903 | 28.049 | 25.0561 | 1099.98 | 0.96399 | 0.036007 | 0 | 836.915 | 5.0011 | 9784.13 | 10148.9 | 48 | 51.25 | 49.687 | 50 | 49.875 | 1055.55 | 39.43 | 0 | 397 | 0 | 836.1952 | 6.3805 | 34.9022 | 9779.0712 | 15 | 1629739662 | 12:27:42 | 1629739653.5 | 1629739662 | 28 | -0.169 | 0.099 | -0.877 | 0.441 | 415 | 32 | 0.03 | 0.02 | 30.957 | -0.030056 | 0.04485 | 1 | 0.48272 | -0.0033061 | 0.0039892 | 1 | 2 | 2 | 2/2 | 2.9743 | 2.821 | 0.091979 | 0.097818 | 0.16209 | 0.14262 | 26628.9 | 24594 | 26375.6 | 25762.5 | 30068.4 | 31218.3 | 37329.1 | 38276 | 1.92 | 1.9188 | -0.015907 | 0 | 33.118 | 999.9 | 50.696 | 40.073 | 38.0095 | 61.6447 | 10.9615 | 1 | 0.72749 | 2.5332 | 20.277 | 5.2073 | 11.9381 | 4.986 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8845 | 1.8906 | 1.8883 | 1.8866 | 1.8871 | 1.8845 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.868 | 0.4414 | -0.6877 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.4414 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 4.8 | 4.7 | 18 | 512.629 | 494.806 | 29.9989 | 36.4673 | 30.0004 | 36.2228 | 36.1827 | 20.2477 | 25.8945 | 43.2047 | 30 | 415 | 32.1185 | 99.1102 | 98.6956
20 | 1629740794.1 | 13861.1 | 20210823 12:46:34 | 12:46:34 | 0 | soybean | 5c | ripe5 | 5.1294 | 1629740794.1 | 0.003935 | 3.935 | 26.2782 | 384.076 | 246.1734 | 24.4612 | 38.1641 | 0.33651 | 2.9525 | 0.31657 | 0.19955 | 129.9846 | 32.4385 | 32.4718 | 4.9041 | 74.9696 | 3.7226 | 4.9654 | 1.1815 | -173.5322 | 35.1144 | 2.7126 | -5.7205 | 1 | 0 | 1 | 0 | 51440.4721 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1541-20210823-12_46_19 | 10364.7 | 838.3475 | 2432.94 | 0.65542 | 0.5 | 673.2032 | 26.2782 | 220.6147 | 0.039515 | 0.6656 | 287.92 | DARK-1542-20210823-12_46_26 | 645.2 | 645.2 | 0.73481 | 0.89196 | 0.47529 | 0.74838 | 0.43182 | 0.68646 | 0.31354 | 800.012 | 673.2032 | 0.84149 | 0.16248 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629740794.1 | 384.076 | 416.2495 | 37.4633 | 33.0782 | 384.939 | 37.0818 | 500.105 | 99.2658 | 0.10013 | 32.6924 | 32.4718 | 999.9 | 0 | 0 | 9985.62 | 0 | 1838.61 | -30.8621 | 399.044 | 429.133 | 4.4305 | 414.938 | 33.0782 | 3.7233 | 3.2835 | 27.6741 | 25.5402 | 800.012 | 0.94998 | 0.05002 | 0 | 838.363 | 5.0011 | 7193.48 | 7335.81 | 45.625 | 49.312 | 47.5 | 48.25 | 47.812 | 755.24 | 39.77 | 0 | 849.6 | 0 | 838.3475 | 0.64908 | -9.3408 | 7192.9296 | 15 | 1629740032.5 | 12:33:52 | 1629740021.5 | 1629740032.5 | 29 | 0.006 | -0.015 | -0.871 | 0.427 | 415 | 32 | 0.08 | 0.02 | 25.1952 | 0.040136 | 0.049465 | 1 | 0.34551 | 0.00023934 | 0.0039725 | 1 | 2 | 2 | 2/2 | 2.974 | 2.821 | 0.093321 | 0.09777 | 0.15967 | 0.1453 | 26585 | 24588.1 | 26371.5 | 25755.4 | 30149.9 | 31112 | 37322.3 | 38265.6 | 1.9174 | 1.9193 | -0.020023 | 0 | 32.7963 | 999.9 | 52.784 | 39.861 | 39.1269 | 61.7112 | 11.3582 | 1 | 0.7354 | 2.3661 | 20.2829 | 5.21 | 11.9381 | 4.9863 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8906 | 1.8883 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.863 | 0.4269 | -0.68171 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.42686 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 12.9 | 12.7 | 18 | 512.327 | 496.835 | 30.0018 | 36.5856 | 30.0004 | 36.4181 | 36.3931 | 20.2378 | 26.6866 | 52.1572 | 30 | 415 | 32.9987 | 99.0932 | 98.6686
21 | 1629741075.6 | 14142.6 | 20210823 12:51:15 | 12:51:15 | 0 | soybean | 5c | ripe5 | 4.2282 | 1629741075.6 | 0.003786 | 3.786 | 22.0267 | 387.356 | 265.0554 | 26.3397 | 38.4933 | 0.31992 | 2.9577 | 0.30186 | 0.1902 | 106.0328 | 32.3915 | 32.4416 | 4.8957 | 74.3555 | 3.7033 | 4.9805 | 1.1925 | -166.9647 | 48.5707 | 3.7459 | -8.6153 | 2 | 0 | 1 | 0 | 51575.1954 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1543-20210823-12_51_00 | 10367.2 | 799.0168 | 2425.97 | 0.67064 | 0.5 | 547.0782 | 22.0267 | 183.4463 | 0.040854 | 0.67038 | 287.8221 | DARK-1544-20210823-12_51_08 | 658.15 | 658.15 | 0.72871 | 0.92032 | 0.47916 | 0.76607 | 0.43368 | 0.75806 | 0.24194 | 649.855 | 547.0782 | 0.84185 | 0.16316 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629741075.6 | 387.356 | 414.5583 | 37.2659 | 33.0455 | 388.164 | 37.0399 | 500.053 | 99.2746 | 0.099913 | 32.7462 | 32.4416 | 999.9 | 0 | 0 | 10013.8 | 0 | 1807.36 | -27.6812 | 402.442 | 429.221 | 4.4416 | 415.037 | 33.0455 | 3.7215 | 3.2806 | 27.6657 | 25.525 | 649.855 | 0.93798 | 0.062024 | 0 | 799.026 | 5.0011 | 5643.51 | 5927.48 | 45.562 | 49.625 | 47.562 | 48.5 | 47.812 | 604.86 | 40 | 0 | 280.8 | 0 | 799.0168 | 0.39392 | 6.8923 | 5644.488 | 15 | 1629740882.6 | 12:48:02 | 1629740882.6 | 1629740880.6 | 30 | 0.056 | 0.02 | -0.815 | 0.447 | 415 | 33 | 0.1 | 0.03 | 22.4057 | 0.035699 | 0.056515 | 1 | 0.34687 | -0.0017092 | 0.0037803 | 1 | 2 | 2 | 2/2 | 2.9736 | 2.8211 | 0.093866 | 0.097724 | 0.15946 | 0.14513 | 26553.8 | 24568.9 | 26357.7 | 25735.6 | 30143.7 | 31095.9 | 37301.2 | 38238 | 1.9126 | 1.9139 | -0.040457 | 0 | 33.097 | 999.9 | 53.235 | 39.861 | 39.4596 | 61.6913 | 11.4984 | 1 | 0.76698 | 2.5642 | 20.2809 | 5.2093 | 11.9381 | 4.9868 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8906 | 1.8883 | 1.8866 | 1.8871 | 1.8845 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.808 | 0.4472 | -0.62613 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.44722 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 3.2 | 3.2 | 18 | 511.506 | 495.258 | 30.0019 | 36.9486 | 30.0007 | 36.7258 | 36.6905 | 20.2303 | 27.1898 | 53.827 | 30 | 415 | 33.0478 | 99.039 | 98.5956
22 | 1629741528.6 | 14595.6 | 20210823 12:58:48 | 12:58:48 | 0 | soybean | 5c | ripe5 | 3.7199 | 1629741528.6 | 0.0037006 | 3.7006 | 19.3635 | 391.997 | 287.6323 | 28.584 | 38.9554 | 0.33303 | 2.953 | 0.31348 | 0.19759 | 82.0928 | 32.1203 | 32.2427 | 4.8411 | 75.3064 | 3.7185 | 4.9378 | 1.1226 | -163.1973 | 55.7995 | 4.303 | -21.0021 | 2 | 0 | 1 | 0 | 51468.9993 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1545-20210823-12_58_33 | 10372.8 | 764.0827 | 2441.33 | 0.68702 | 0.5 | 421.1849 | 19.3635 | 144.6816 | 0.046742 | 0.65987 | 288.0371 | DARK-1546-20210823-12_58_41 | 684.74 | 684.74 | 0.71952 | 0.95483 | 0.47838 | 0.78408 | 0.42958 | 0.85568 | 0.14432 | 499.996 | 421.1849 | 0.84238 | 0.16419 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629741528.6 | 391.997 | 416.0928 | 37.4178 | 33.294 | 392.725 | 36.871 | 500.143 | 99.2766 | 0.10015 | 32.5932 | 32.2427 | 999.9 | 0 | 0 | 9986.88 | 0 | 1862.37 | -22.988 | 407.19 | 429.277 | 4.0183 | 414.985 | 33.294 | 3.7042 | 3.3053 | 27.5861 | 25.6516 | 499.996 | 0.91999 | 0.080014 | 0 | 764.005 | 5.0011 | 4249.71 | 4523.77 | 44.875 | 49.125 | 47.062 | 48.062 | 47.25 | 455.39 | 39.61 | 0 | 452.2 | 0 | 764.0827 | -0.077231 | 1.2506 | 4249.9054 | 15 | 1629741157.1 | 12:52:37 | 1629741152.1 | 1629741157.1 | 31 | 0.082 | -0.006 | -0.733 | 0.441 | 415 | 34 | 0.13 | 0.03 | 18.4693 | 0.035468 | 0.047894 | 1 | 0.32538 | -0.0028767 | 0.0039155 | 1 | 2 | 2 | 2/2 | 2.9737 | 2.8211 | 0.094669 | 0.09766 | 0.15889 | 0.14578 | 26525 | 24563.9 | 26352.9 | 25729.2 | 30159.2 | 31065.3 | 37293.7 | 38229.5 | 1.9101 | 1.9123 | -0.038929 | 0 | 32.8736 | 999.9 | 53.602 | 39.861 | 39.7331 | 61.6913 | 11.1498 | 1 | 0.77693 | 2.3636 | 20.2842 | 5.2056 | 11.9381 | 4.9856 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.728 | 0.4413 | -0.54416 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.44123 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 6.3 | 6.2 | 18 | 511.545 | 495.993 | 30.0008 | 37.1107 | 30 | 36.957 | 36.9296 | 20.2244 | 27.2723 | 55.7026 | 30 | 415 | 33.3928 | 99.0199 | 98.5726
23 | 1629742487.5 | 15554.5 | 20210823 13:14:47 | 13:14:47 | 0 | soybean | 5c | ripe5 | 2.4137 | 1629742487.5 | 0.0016886 | 1.6886 | 12.8906 | 400.989 | 252.5568 | 25.086 | 39.8295 | 0.14836 | 2.9538 | 0.14434 | 0.090562 | 57.8579 | 32.1105 | 31.8723 | 4.7407 | 75.0827 | 3.6276 | 4.8314 | 1.1131 | -74.4686 | 53.3624 | 4.0987 | 40.8503 | 1 | 0 | 1 | 0 | 51555.3478 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1547-20210823-13_14_32 | 10369.1 | 739.1872 | 2466.78 | 0.70034 | 0.5 | 295.0397 | 12.8906 | 103.3145 | 0.044787 | 0.64275 | 288.3882 | DARK-1548-20210823-13_14_40 | 738.93 | 738.93 | 0.70045 | 0.99985 | 0.47852 | 0.79812 | 0.4228 | 0.9995 | 0.00049666 | 350.006 | 295.0397 | 0.84296 | 0.16531 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629742487.5 | 400.989 | 416.6989 | 36.5209 | 34.6371 | 401.691 | 36.0405 | 500.046 | 99.2283 | 0.099967 | 32.2074 | 31.8723 | 999.9 | 0 | 0 | 9996.25 | 0 | 1892.61 | -14.02 | 416.168 | 429.899 | 1.8359 | 415.009 | 34.6371 | 3.6192 | 3.437 | 27.1893 | 26.3116 | 350.006 | 0.90004 | 0.099961 | 0 | 739.108 | 5.0011 | 3012.16 | 3132.75 | 44.937 | 49.25 | 47.312 | 48.562 | 47.375 | 310.52 | 34.49 | 0 | 958.6 | 0 | 739.1872 | -1.3698 | 5.1231 | 3012.2888 | 15 | 1629741583.1 | 12:59:43 | 1629741577.6 | 1629741583.1 | 32 | 0.028 | -0.009 | -0.705 | 0.433 | 415 | 33 | 0.09 | 0.02 | 11.4109 | 0.030764 | 0.040809 | 1 | 0.14474 | -0.0015071 | 0.0039412 | 1 | 2 | 2 | 2/2 | 2.9744 | 2.8209 | 0.096532 | 0.097873 | 0.15674 | 0.14989 | 26512.6 | 24607.4 | 26391.4 | 25776.1 | 30270.8 | 30966.9 | 37348.8 | 38292.4 | 1.9226 | 1.9299 | 0.0030659 | 0 | 31.8226 | 999.9 | 55.164 | 39.992 | 41.1982 | 61.6715 | 11.8389 | 1 | 0.68956 | 1.837 | 20.2948 | 5.2093 | 11.9381 | 4.987 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.702 | 0.4325 | -0.51626 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.43257 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 15.2 | 15.1 | 18 | 512.257 | 500.658 | 30.0011 | 36.0126 | 29.9998 | 35.948 | 35.9336 | 20.2242 | 27.5107 | 66.976 | 30 | 415 | 34.5641 | 99.1656 | 98.7419
24 | 1629743006 | 16073 | 20210823 13:23:26 | 13:23:26 | 0 | soybean | 5c | ripe5 | 1.0073 | 1629743006 | 0.0025018 | 2.5018 | 5.4428 | 405.657 | 357.7197 | 35.5382 | 40.3006 | 0.22111 | 2.9558 | 0.21232 | 0.13346 | 33.0325 | 32.233 | 32.2603 | 4.8459 | 75.0723 | 3.7258 | 4.9629 | 1.1201 | -110.33 | 67.4054 | 5.1958 | -4.6963 | 2 | 0 | 1 | 0 | 51530.6077 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1549-20210823-13_23_11 | 10349.8 | 694.961 | 2549.04 | 0.72736 | 0.5 | 168.4954 | 5.4428 | 61.2787 | 0.034222 | 0.58974 | 289.4803 | DARK-1550-20210823-13_23_19 | 807.51 | 807.51 | 0.68321 | 1.0646 | 0.46328 | 0.8252 | 0.40086 | 1.237 | -0.23704 | 199.893 | 168.4954 | 0.84293 | 0.16525 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629743006 | 405.657 | 413.1334 | 37.5027 | 34.7149 | 406.467 | 36.7405 | 500.109 | 99.2463 | 0.10011 | 32.6833 | 32.2603 | 999.9 | 0 | 0 | 10005.6 | 0 | 1896.76 | -9.3689 | 421.372 | 429.952 | 2.5805 | 415.026 | 34.7149 | 3.7014 | 3.4453 | 27.5732 | 26.3527 | 199.893 | 0.89991 | 0.10009 | 0 | 694.95 | 5.0011 | 1887.7 | 1769.61 | 46.062 | 51.375 | 48.687 | 50.312 | 48.562 | 175.39 | 19.51 | 0 | 517.8 | 0 | 694.961 | -1.011 | -2.5385 | 1888.2627 | 15 | 1629742556.5 | 13:15:56 | 1629742556.5 | 1629742556.5 | 33 | -0.106 | 0.122 | -0.812 | 0.555 | 415 | 35 | 0.21 | 0.08 | 7.124 | -0.017955 | 0.038118 | 1 | 0.20334 | -0.00092911 | 0.0039575 | 1 | 2 | 2 | 2/2 | 2.9738 | 2.8212 | 0.097291 | 0.097751 | 0.1586 | 0.14995 | 26458.5 | 24569.5 | 26362.4 | 25736.3 | 30176.8 | 30920.6 | 37305.8 | 38238.1 | 1.9136 | 1.9143 | -0.041291 | 0 | 32.9295 | 999.9 | 54.871 | 40.476 | 42.0437 | 61.6416 | 11.6867 | 1 | 0.75677 | 2.5592 | 20.2858 | 5.2096 | 11.9381 | 4.9858 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.81 | 0.5549 | -0.6228 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.55493 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 7.5 | 7.5 | 18 | 510.901 | 494.267 | 30.0007 | 36.8212 | 30.0007 | 36.5627 | 36.5213 | 20.2078 | 28.7949 | 67.6593 | 30 | 415 | 34.8541 | 99.0534 | 98.5968
25 | 1629745200.6 | 18267.6 | 20210823 14:00:00 | 14:00:00 | 0 | tobacco | 5 | ripe5 | 6.3298 | 1629745200.6 | 0.0058352 | 5.8352 | 31.6439 | 376.106 | 244.8091 | 24.3169 | 37.3587 | 0.43618 | 2.9535 | 0.4033 | 0.25481 | 321.4793 | 34.0544 | 33.9187 | 5.3188 | 75.2333 | 3.9487 | 5.2486 | 1.3701 | -257.3341 | -37.896 | -2.9617 | 23.2876 | 2 | 0 | 1 | 0 | 51299.3985 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1551-20210823-13_59_45 | 10364.6 | 965.1379 | 1684.19 | 0.42694 | 0.5 | 1681.0371 | 31.6439 | 358.853 | 0.019016 | 1.4061 | 273.529 | DARK-1552-20210823-13_59_53 | 664.17 | 664.17 | 0.60564 | 0.70494 | 0.69894 | 0.52031 | 0.63148 | 0.48511 | 0.51489 | 1999.81 | 1681.0371 | 0.8406 | 0.16075 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629745200.6 | 376.106 | 415.2746 | 39.7531 | 33.2672 | 376.675 | 39.242 | 500.21 | 99.2301 | 0.10007 | 33.6807 | 33.9187 | 999.9 | 0 | 0 | 9994.38 | 0 | 1857.13 | -38.9241 | 391.58 | 429.312 | 6.2504 | 415.03 | 33.2672 | 3.9213 | 3.3011 | 28.5636 | 25.6301 | 1999.81 | 0.98 | 0.019998 | 0 | 964.89 | 5.0011 | 20280.1 | 18583 | 50.312 | 51.875 | 51 | 50.562 | 51.625 | 1954.92 | 39.89 | 0 | 2194.1 | 0 | 965.1379 | -2.1175 | -52.5615 | 20289.544 | 15 | 1629744074.6 | 13:41:14 | 1629744066.6 | 1629744074.6 | 36 | 0.162 | -0.163 | -0.579 | 0.249 | 415 | 28 | 0.03 | 0.01 | 31.7238 | -0.27157 | 0.16538 | 1 | 0.42345 | -0.011336 | 0.010678 | 0 | 1 | 2 | 1/2 | 2.9739 | 2.821 | 0.091642 | 0.097657 | 0.16566 | 0.14568 | 26618.4 | 24564 | 26356.8 | 25728.5 | 29919.3 | 31066.9 | 37295.6 | 38226.9 | 1.9125 | 1.9002 | 0.0070035 | 0 | 33.8054 | 999.9 | 45.849 | 42.349 | 38.7963 | 61.7084 | 11.2179 | 1 | 0.76867 | 2.9367 | 20.2612 | 5.2092 | 11.9381 | 4.9856 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.569 | 0.2756 | -0.38967 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.27554 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 18.9 | 18.8 | 18 | 512.056 | 486.493 | 30.003 | 36.9519 | 30.0008 | 36.8107 | 36.7909 | 20.2407 | 22.3825 | 35.9443 | 30 | 415 | 33.1943 | 99.0289 | 98.5677
26 | 1629745923.5 | 18990.5 | 20210823 14:12:03 | 14:12:03 | 0 | tobacco | 5 | ripe5 | 5.8964 | 1629745923.5 | 0.0045855 | 4.5855 | 29.8482 | 381.474 | 248.1069 | 24.6425 | 37.8887 | 0.39943 | 2.9543 | 0.37167 | 0.23463 | 177.8488 | 32.6349 | 32.5708 | 4.9315 | 75.3594 | 3.7598 | 4.9891 | 1.1718 | -202.2209 | 32.8262 | 2.5366 | 10.9906 | 2 | 0 | 1 | 0 | 51474.4717 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1553-20210823-14_11_49 | 10402.3 | 1015.1952 | 2423.32 | 0.58107 | 0.5 | 925.2162 | 29.8482 | 268.8089 | 0.03261 | 0.67221 | 287.7848 | DARK-1554-20210823-14_11_56 | 695.62 | 695.62 | 0.71295 | 0.81503 | 0.48529 | 0.66386 | 0.43438 | 0.55846 | 0.44154 | 1100.04 | 925.2162 | 0.84108 | 0.16167 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629745923.5 | 381.474 | 418.0579 | 37.8544 | 32.7462 | 382.205 | 37.1414 | 500.081 | 99.2218 | 0.10011 | 32.7769 | 32.5708 | 999.9 | 0 | 0 | 10000 | 0 | 1740.59 | -33.5197 | 396.384 | 429.043 | 4.87 | 414.993 | 32.7462 | 3.7323 | 3.2491 | 27.7155 | 25.363 | 1100.04 | 0.96401 | 0.035994 | 0 | 1015.17 | 5.0011 | 11789.3 | 10149.5 | 46.562 | 49.25 | 48.062 | 48 | 48.437 | 1055.62 | 39.42 | 0 | 722.4 | 0 | 1015.1952 | 0.37769 | -8.1462 | 11788.908 | 15 | 1629745312.1 | 14:01:52 | 1629745311.1 | 1629745312.1 | 37 | -0.16 | 0.199 | -0.739 | 0.475 | 415 | 34 | 0.09 | 0.02 | 27.2117 | 0.020443 | 0.35498 | 1 | 0.36845 | 0.00086127 | 0.0039143 | 1 | 2 | 2 | 2/2 | 2.9741 | 2.8211 | 0.092771 | 0.09774 | 0.15979 | 0.14428 | 26603.4 | 24584.5 | 26373.4 | 25750.3 | 30142.2 | 31142.1 | 37319 | 38256.6 | 1.9165 | 1.908 | -0.0066534 | 0 | 32.6786 | 999.9 | 47.235 | 42.147 | 39.5473 | 61.5285 | 12.0753 | 1 | 0.72745 | 2.286 | 20.281 | 5.208 | 11.9381 | 4.9866 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.731 | 0.4748 | -0.55026 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.4748 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 10.2 | 10.2 | 18 | 511.498 | 488.666 | 30.0031 | 36.4668 | 30.0001 | 36.385 | 36.3693 | 20.263 | 26.0749 | 42.1968 | 30 | 415 | 32.7604 | 99.091 | 98.647
27 | 1629746272.5 | 19339.5 | 20210823 14:17:52 | 14:17:52 | 0 | tobacco | 5 | ripe5 | 3.9885 | 1629746272.5 | 0.003924 | 3.924 | 20.6585 | 385.463 | 272.166 | 27.0341 | 38.2879 | 0.32617 | 2.9554 | 0.30741 | 0.19373 | 130.0113 | 32.6316 | 32.6284 | 4.9476 | 74.4217 | 3.7351 | 5.0188 | 1.2125 | -173.0502 | 40.4536 | 3.1274 | 0.5421 | 3 | 1 | 1 | 0 | 51485.5087 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1555-20210823-14_17_38 | 10411.1 | 942.2793 | 2561.89 | 0.63219 | 0.5 | 673.3412 | 20.6585 | 212.841 | 0.031161 | 0.58176 | 289.6453 | DARK-1556-20210823-14_17_45 | 704.09 | 704.09 | 0.72517 | 0.87179 | 0.44514 | 0.71674 | 0.39743 | 0.65142 | 0.34858 | 800.176 | 673.3412 | 0.84149 | 0.16248 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629746272.5 | 385.463 | 411.1276 | 37.6028 | 33.2312 | 386.269 | 37.4961 | 500.184 | 99.2297 | 0.099918 | 32.8823 | 32.6284 | 999.9 | 0 | 0 | 10005 | 0 | 1656.08 | -29.5356 | 400.673 | 429.263 | 4.7306 | 414.998 | 33.2312 | 3.7669 | 3.2975 | 27.8735 | 25.6118 | 800.176 | 0.94998 | 0.050024 | 0 | 942.588 | 5.0011 | 8075.74 | 7337.32 | 46 | 49.375 | 47.75 | 48.187 | 48.125 | 755.4 | 39.78 | 0 | 348.6 | 0 | 942.2793 | 0.85549 | -210.1597 | 8105.1627 | 15 | 1629746005 | 14:13:25 | 1629746003 | 1629746005 | 38 | -0.074 | -0.009 | -0.813 | 0.466 | 415 | 33 | 0.04 | 0.02 | 23.8183 | 0.013093 | 0.040282 | 1 | 0.36187 | 0.0011283 | 0.0039884 | 1 | 2 | 2 | 2/2 | 2.9741 | 2.821 | 0.093516 | 0.097724 | 0.16077 | 0.14567 | 26569.5 | 24569.3 | 26362.3 | 25735.2 | 30097.3 | 31074.3 | 37303.4 | 38235.4 | 1.9135 | 1.9039 | -0.048384 | 0 | 33.4119 | 999.9 | 47.363 | 42.117 | 39.5884 | 61.4286 | 11.3782 | 1 | 0.75283 | 2.6282 | 20.2783 | 5.2085 | 11.9381 | 4.9862 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.806 | 0.4657 | -0.62445 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.46567 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 4.5 | 4.5 | 18 | 510.611 | 486.735 | 30.0008 | 36.7695 | 30.0003 | 36.5335 | 36.4882 | 20.2809 | 24.8414 | 43.0269 | 30 | 415 | 33.2065 | 99.0496 | 98.5911
28 | 1629746523.5 | 19590.5 | 20210823 14:22:03 | 14:22:03 | 0 | tobacco | 5 | ripe5 | 4.5439 | 1629746523.5 | 0.0038788 | 3.8788 | 23.6624 | 388.913 | 261.6134 | 25.9863 | 38.631 | 0.32983 | 2.9546 | 0.31066 | 0.19579 | 106.0437 | 32.4978 | 32.5762 | 4.933 | 74.6834 | 3.747 | 5.0172 | 1.186 | -171.0551 | 47.85 | 3.6991 | -13.4624 | 3 | 1 | 1 | 0 | 51465.3227 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1557-20210823-14_21_49 | 10413.9 | 898.7348 | 2604.51 | 0.65493 | 0.5 | 547.1406 | 23.6624 | 179.1698 | 0.043838 | 0.55588 | 290.1821 | DARK-1558-20210823-14_21_56 | 712.93 | 712.93 | 0.72627 | 0.90177 | 0.43355 | 0.7409 | 0.38607 | 0.71534 | 0.28466 | 649.93 | 547.1406 | 0.84185 | 0.16316 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629746523.5 | 388.913 | 418.0573 | 37.7225 | 33.4008 | 389.688 | 37.548 | 500.062 | 99.2308 | 0.099996 | 32.8766 | 32.5762 | 999.9 | 0 | 0 | 10000.6 | 0 | 1375 | -26.038 | 404.272 | 429.289 | 4.5914 | 414.951 | 33.4008 | 3.77 | 3.3144 | 27.8874 | 25.6978 | 649.93 | 0.93801 | 0.061986 | 0 | 898.792 | 5.0011 | 6267.34 | 5928.24 | 45.812 | 49.437 | 47.687 | 48.375 | 48 | 604.95 | 39.98 | 0 | 250.8 | 0 | 898.7348 | 0.43115 | 521.5877 | 6284.9412 | 15 | 1629746328.5 | 14:18:48 | 1629746328.5 | 1629746327 | 39 | 0.032 | -0.022 | -0.782 | 0.444 | 415 | 33 | 0.14 | 0.03 | 20.9165 | 0.020631 | 0.039958 | 1 | 0.35841 | 0.00079497 | 0.0038997 | 1 | 2 | 2 | 2/2 | 2.9735 | 2.821 | 0.09411 | 0.097667 | 0.16085 | 0.1461 | 26542.5 | 24556.9 | 26353.7 | 25721.7 | 30086.2 | 31043.3 | 37290 | 38216.5 | 1.9096 | 1.9001 | -0.066824 | 0 | 33.6582 | 999.9 | 47.491 | 42.158 | 39.7829 | 61.5286 | 11.5144 | 1 | 0.77449 | 2.7924 | 20.2767 | 5.2083 | 11.9381 | 4.9859 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8867 | 1.8872 | 1.8846 | 1.8905 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.775 | 0.4442 | -0.59259 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.44415 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 3.2 | 3.3 | 18 | 509.663 | 485.678 | 29.9994 | 37.0258 | 30.0005 | 36.7542 | 36.7017 | 20.2806 | 25.2166 | 44.9985 | 30 | 415 | 33.4179 | 99.0154 | 98.5411
29 | 1629747299.1 | 20366.1 | 20210823 14:34:59 | 14:34:59 | 0 | tobacco | 5 | ripe5 | 3.6583 | 1629747299.1 | 0.0033036 | 3.3036 | 19.3747 | 393.609 | 275.1283 | 27.3203 | 39.0854 | 0.28941 | 2.9519 | 0.27452 | 0.17285 | 82.1082 | 32.0973 | 32.0487 | 4.7883 | 74.3206 | 3.644 | 4.9031 | 1.1443 | -145.69 | 66.7607 | 5.142 | 8.3209 | 2 | 0 | 1 | 0 | 51459.6787 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1559-20210823-14_34_44 | 10418.4 | 863.5402 | 2698.18 | 0.67995 | 0.5 | 421.2687 | 19.3747 | 143.2218 | 0.046759 | 0.50186 | 291.3089 | DARK-1560-20210823-14_34_52 | 729.89 | 729.89 | 0.72949 | 0.9321 | 0.40757 | 0.76572 | 0.36109 | 0.78784 | 0.21216 | 500.096 | 421.2687 | 0.84238 | 0.16418 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629747299.1 | 393.609 | 417.5401 | 36.6969 | 33.0133 | 394.421 | 36.4444 | 500.222 | 99.2002 | 0.099991 | 32.4682 | 32.0487 | 999.9 | 0 | 0 | 9988.75 | 0 | 1687.65 | -21.4004 | 408.688 | 429.178 | 3.883 | 415.009 | 33.0133 | 3.6601 | 3.2749 | 27.3814 | 25.496 | 500.096 | 0.92001 | 0.079989 | 0 | 863.779 | 5.0011 | 4878.96 | 4524.72 | 45.25 | 49 | 47.375 | 48.312 | 47.562 | 455.49 | 39.6 | 0 | 775.1 | 0 | 863.5402 | 3.3953 | 1400.8638 | 4752.936 | 15 | 1629746605 | 14:23:25 | 1629746601 | 1629746605 | 40 | -0.035 | 0.008 | -0.817 | 0.452 | 415 | 34 | 0.07 | 0.02 | 17.1876 | -0.06723 | 0.054849 | 1 | 0.31365 | -0.00054604 | 0.0039334 | 1 | 2 | 2 | 2/2 | 2.9746 | 2.8209 | 0.095104 | 0.097784 | 0.15781 | 0.14511 | 26540.7 | 24588.3 | 26378.5 | 25754.7 | 30216.1 | 31116.2 | 37325.4 | 38261.7 | 1.9187 | 1.9103 | -0.040151 | 0 | 32.6996 | 999.9 | 46.765 | 42.218 | 39.3068 | 61.8878 | 11.3742 | 1 | 0.71424 | 2.1867 | 20.2891 | 5.2055 | 11.9381 | 4.9871 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.812 | 0.4519 | -0.62793 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.45188 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 11.6 | 11.6 | 18 | 511.22 | 488.402 | 30 | 36.2879 | 30.0002 | 36.154 | 36.126 | 20.2888 | 24.8191 | 44.8899 | 30 | 415 | 33.0592 | 99.1091 | 98.6616
30 | 1629747713.6 | 20780.6 | 20210823 14:41:53 | 14:41:53 | 0 | tobacco | 5 | ripe5 | 2.9051 | 1629747713.6 | 0.0030589 | 3.0589 | 15.5212 | 399.519 | 296.4169 | 29.4305 | 39.6672 | 0.26848 | 2.9525 | 0.25562 | 0.16087 | 57.8569 | 32.3254 | 32.3374 | 4.867 | 74.7788 | 3.7303 | 4.9885 | 1.1367 | -134.8989 | 69.5906 | 5.3746 | -2.0768 | 4 | 1 | 1 | 0 | 51423.1056 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1561-20210823-14_41_39 | 10410 | 817.5162 | 2723.43 | 0.69982 | 0.5 | 295.0286 | 15.5212 | 103.2336 | 0.053705 | 0.48794 | 291.6008 | DARK-1562-20210823-14_41_46 | 766.59 | 766.59 | 0.71852 | 0.97398 | 0.40444 | 0.78717 | 0.35436 | 0.9133 | 0.086697 | 349.992 | 295.0286 | 0.84296 | 0.16531 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629747713.6 | 399.519 | 418.9064 | 37.5709 | 34.162 | 400.302 | 37.2569 | 500.032 | 99.1875 | 0.099918 | 32.7746 | 32.3374 | 999.9 | 0 | 0 | 9993.12 | 0 | 1578.34 | -15.4441 | 415.19 | 429.64 | 3.5818 | 414.963 | 34.162 | 3.7437 | 3.3884 | 27.7675 | 26.0709 | 349.992 | 0.89996 | 0.10004 | 0 | 817.48 | 5.0011 | 3389.72 | 3132.55 | 46.187 | 50.562 | 48.562 | 49.562 | 48.562 | 310.48 | 34.51 | 0 | 414 | 0 | 817.5162 | -0.87854 | 6.8869 | 3388.94 | 15 | 1629747375.6 | 14:36:15 | 1629747375.6 | 1629747373.6 | 41 | 0.031 | 0.035 | -0.786 | 0.487 | 415 | 33 | 0.21 | 0.03 | 12.1145 | -0.014007 | 0.038839 | 1 | 0.29061 | -0.00063852 | 0.0039981 | 1 | 2 | 2 | 2/2 | 2.9736 | 2.8209 | 0.09611 | 0.097694 | 0.16002 | 0.1483 | 26492.2 | 24564.6 | 26361.3 | 25729.5 | 30120.6 | 30971 | 37299.1 | 38226.4 | 1.9117 | 1.9053 | -0.063293 | 0 | 33.3626 | 999.9 | 48.047 | 42.117 | 40.1785 | 61.6779 | 11.9631 | 1 | 0.75416 | 2.563 | 20.2846 | 5.2096 | 11.9381 | 4.9868 | 3.29 | 9999 | 9999 | 9999 | 999.9 | 1.8846 | 1.8907 | 1.8884 | 1.8866 | 1.8872 | 1.8846 | 1.8904 | 1.8896 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.783 | 0.4869 | -0.59733 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.4869 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 5.6 | 5.7 | 18 | 509.233 | 487.469 | 29.9998 | 36.7895 | 30.0003 | 36.5121 | 36.4566 | 20.3257 | 24.7692 | 53.8332 | 30 | 415 | 34.1055 | 99.0413 | 98.5683
31 | 1629748578.6 | 21645.6 | 20210823 14:56:18 | 14:56:18 | 0 | tobacco | 5 | ripe5 | 1.3498 | 1629748578.6 | 0.0021629 | 2.1629 | 7.3041 | 406.776 | 336.6709 | 33.4067 | 40.363 | 0.19072 | 2.9527 | 0.18413 | 0.11566 | 33.0191 | 32.2097 | 32.1766 | 4.823 | 75.1695 | 3.7076 | 4.9323 | 1.1155 | -95.385 | 63.1652 | 4.8693 | 5.6685 | 4 | 1 | 1 | 0 | 51462.3959 | RECT-12243-20210724-05_20_30 | 10238.9 | 302.212 | 4052.3 | 0.92542 | -0.32343 | MPF-1563-20210823-14_56_04 | 10397.8 | 779.9148 | 2907.77 | 0.73178 | 0.5 | 168.4271 | 7.3041 | 61.626 | 0.045287 | 0.39361 | 293.5937 | DARK-1564-20210823-14_56_11 | 855.19 | 855.19 | 0.70589 | 1.0367 | 0.35799 | 0.81666 | 0.3052 | 1.1367 | -0.13673 | 199.812 | 168.4271 | 0.84293 | 0.16525 | 5.79 | 0.5 | 0: Broadleaf | 2 | 1629748578.6 | 406.776 | 416.2513 | 37.3645 | 34.9539 | 407.568 | 36.968 | 500.09 | 99.1268 | 0.099871 | 32.5734 | 32.1766 | 999.9 | 0 | 0 | 10000.6 | 0 | 758.899 | -8.2105 | 422.601 | 430.017 | 2.4947 | 414.986 | 34.9539 | 3.7122 | 3.4649 | 27.6227 | 26.4485 | 199.812 | 0.89992 | 0.10008 | 0 | 779.992 | 5.0011 | 1857.13 | 1768.88 | 45.937 | 50.437 | 48.5 | 49.562 | 48.437 | 175.31 | 19.5 | 0 | 864.6 | 0 | 779.9148 | 1.0159 | -138.4106 | 1866.1658 | 15 | 1629747772.1 | 14:42:52 | 1629747761.1 | 1629747772.1 | 42 | -0.008 | -0.006 | -0.794 | 0.481 | 415 | 34 | 0.21 | 0.05 | 6.1414 | 0.0504 | 0.049096 | 1 | 0.20377 | -0.0020719 | 0.0039967 | 1 | 2 | 2 | 2/2 | 2.9735 | 2.8209 | 0.097295 | 0.097547 | 0.15895 | 0.15034 | 26443.3 | 24548.2 | 26348.4 | 25709.6 | 30146.5 | 30874.2 | 37280.2 | 38198.4 | 1.9058 | 1.9021 | -0.054777 | 0 | 33.0642 | 999.9 | 51.026 | 41.654 | 41.6679 | 61.7881 | 11.1018 | 1 | 0.78408 | 2.5388 | 20.2849 | 5.2023 | 11.9381 | 4.9847 | 3.2893 | 9999 | 9999 | 9999 | 999.9 | 1.8847 | 1.8907 | 1.8884 | 1.8867 | 1.8873 | 1.8847 | 1.8905 | 1.8897 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.792 | 0.4806 | -0.60525 | -0.00073897 | 8.3055e-07 | -3.5237e-10 | 0.48055 | 0 | 0 | 0 | 2 | 2274 | 2 | 28 | 13.6 | 13.4 | 18 | 508.387 | 488.396 | 29.9979 | 37.144 | 29.9998 | 36.9214 | 36.8691 | 20.3238 | 27.1507 | 69.5946 | 30 | 415 | 34.8692 | 98.9919 | 98.4946

## Remarks
File opened | 2021-08-23 08:29:27
Console s/n | 68C-812063
Console ver | Bluestem v.1.5.02
Scripts ver | 2021.03 1.5.02, Feb 2021
Head s/n | 68H-712053
Head ver | 1.4.5
Head cal | {"co2aspan2a": "0.316484", "oxygen": "21", "co2bspan2b": "0.310951", "co2bspanconc2": "293", "co2bspan1": "1.0008", "tbzero": "-0.0641956", "co2aspan1": "1.00043", "h2oaspan1": "1.0099", "h2obspan2b": "0.0741077", "h2obspanconc1": "12.4", "h2obzero": "1.04859", "co2azero": "0.895415", "co2bspanconc1": "2505", "h2obspanconc2": "0", "h2obspan2": "0", "h2oaspan2": "0", "h2oazero": "1.03803", "h2obspan2a": "0.0740936", "flowazero": "0.27501", "h2oaspanconc2": "0", "h2oaspan2a": "0.0743833", "co2aspan2": "-0.0261169", "tazero": "-0.144848", "co2aspanconc1": "2505", "chamberpressurezero": "2.67258", "h2oaspanconc1": "12.4", "h2oaspan2b": "0.0751196", "co2aspanconc2": "293", "ssa_ref": "32138.3", "h2obspan1": "1.00019", "co2bzero": "0.939459", "ssb_ref": "32442.4", "co2bspan2a": "0.313438", "co2bspan2": "-0.0278542", "flowbzero": "0.29738", "co2aspan2b": "0.314005", "flowmeterzero": "1.00382"}
Chamber type | 6800-01A
Chamber s/n | MPF-281812
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-281812
Flr. Version | 1.4.5
08:29:27 | Stability Definition: A (GasEx): Slp<0.5 Std<0.5 Per=120 gsw (GasEx): Slp<0.004 Std<0.004 Per=180